JEL Corporation

Job

number

Reservation desk contact

E-mail: otoiawase@jel.co.jp

Fax: +81 4 7188 6382         Application for Use of Testing Facilities

| ■General * Please fill in all fields enclosed by bold line. |  | Date of Application | yyyy mm dd |
| --- | --- | --- | --- |
| Applicant | Billing address * Only when it differs from the applicant |  |  |
| Company name | Company name |  |  |
| Postal code/ZIP Address | Postal code/ZIP Address |  |  |
| Section | Section |  |  |
| Contact person e-mail: | Contact person e-mail: |  |  |
| Phone | Phone |  |  |
| FAX | FAX |  |  |

■About the EUT

| Name | Model |
| --- | --- |
| Clock *Please write the maximum operating frequency in the EUT. MHz | Power rating Single phase Three phase (delta Y) Hz AC DC V A W VA |
| Dimensions (width) x (depth) x (height) mm Total weight: kg Desktop Floor | Delivery method Delivered in advance (arrives(mm/dd): ) Delivered same day Delivered by hand same day Other: |

■Details of the test * If you fail to check the following fields we may not be able to perform the job during the test day.

| Purpose of the test: Standard compliance test Preliminary test Production sampling test Corrective action VDE mark application Other: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ◆◆ Emission (electromagnetic interference) measurement ◆◆ Applied standard |  |  |  |  |  | ◆◆ Immunity (electromagnetic interference immunity) test ◆◆ Applied standard |  |  |  |
| VCCI (Class A Class B) FCC Part15 (Class A Class B) EN 55022 (Class A Class B) |  |  |  |  |  | EN 55024 EN 50130-4 EN 61000-6-1 EN 61000-6-2:2005 |  |  |  |
| EN 61000-3-2 EN 61000-3-3 CNS 13438 |  |  | JIS C 61000-3-2 PSE |  |  |  |  |  |  |
| IEC EN 60601-1-2 Ed.2.1 Ed.3 / IEC EN 61326-1 / JIS T 0601-1-2 / JIS C 1806-1 |  |  |  |  |  |  |  |  |  |
| Number of measurement modes: modes |  |  |  |  |  | Number of measurement modes: modes |  |  |  |
| Measurement items All items required by the standard Only the item(s) below Radiated interference (30 MHz-1 GHz) ( m method) Radiated interference (1 GHz and up) Magnetic field intensity Conducted interference (Power cable Communication cable) Disturbance power Power line harmonics Flicker Other: |  |  |  |  |  | Test item All items required by the standard Only the item(s) below Static discharge Radiated electromagnetic field EFT/burst Surge Conductive Power frequency magnetic field Voltage dip and interruption Acoustic evaluation (EN 55024) Other: |  |  |  |
| Date of use (mm/dd) Note) |  | Facility to be used |  | Possibility of overtime |  | Date of use (mm/dd) Note) |  | Facility to be used | Possibility of overtime |
| / |  |  |  | Yes No |  | / |  | AR-1 EN AR-2 | Yes No |
| / |  |  |  | Yes No |  | / |  | AR-1 EN AR-2 | Yes No |
| / |  |  |  | Yes No |  | / |  | AR-1 EN AR-2 | Yes No |
| / |  |  |  | Yes No |  | / |  | AR-1 EN AR-2 | Yes No |
| / |  |  |  | Yes No |  | / |  | AR-1 EN AR-2 | Yes No |
| / |  |  |  | Yes No |  | / |  | AR-1 EN AR-2 | Yes No |
| Test report | Creates ( originals / copies /PDF data [copies (CD-R)] copies) - With accreditation body endorsement (A2LA DAkkS BSMI TÜV JAB ILAC-A2LA (for Australia)) Without accreditation body endorsement Unnecessary |  |  | Number of expected visitors | people | Remark | * If you have any message for us please write it here. |  |  |

Note) Reservation cancel/date change is subject to standard cancel charge. Please visit our website for the details.
If you do not hear from us after your application, please take your time to call our reservation contact +81 4 04 7188 6381.

|  | Accepted by 受付 | Approved by承認 | Returned by返送 | Information from JEL |
| --- | --- | --- | --- | --- |

JEL Limited 2971, Nakabyo, Abiko-shi, Chiba-ken, 270-1121, Japan Phone: +81 4 7188 6381 / Fax: +81 4 7188 6382 Web: http://www.jel.co.jp

EMC Test Plan

year       month       day

JEL Limited

Please write the following details of your EMC test request.

Test type: EMI test	EMS test

Test period:       year       month       day to       year       month       day

Equipment under testing:

Model name:

Serial number:

Information related to this test: Application for use of testing facility

Test report making request

EMC Test Plan Annex 1 (confirmation for both emission and immunity)

EMC Test Plan Annex 2 (IEC/EN 61000-4 series check sheet)

Testing work discussion log

The details of the testing condition are decided based on the details above and after discussing with the testing staff.

| I hereby accept that I have confirmed the above contents prior to the execution of the test. * We would like the personnel who visited at the day of the test to sign the following signature field. |  |
| --- | --- |
| Your company name and sign; Name of test staff JEL Limited. |
| JEL's field |  |
| Work report number: | Test report number: Invoice number: |

JEL EMC Test Plan Annex-1

Followings subjects are the very important details for appropriately and efficiently performing the test you requested. Please fill the fields you are sure and submit this sheet as soon as possible, you may leave unsure fields blank. (We will ask you and confirm prior to or at the day of the test as necessary.)

1. Test summary (please check the □These are common confirmation for both the emission and immunity)

| Purpose of the test: | Standard compliance test Preliminary test Production sampling Other |
| --- | --- |
| Product destination: | Europe USA Korea Japan Other: |
| Applied standard: | Described in the application of use for testing facilities/test report making request EN 55024:1998+A1+A2 EN 55024:2010 EN 61000-3-2:2006+A1+A2 EN 61000-3-3:2008 EN 60601-1-2:2001+A1 EN 60601-1-2:2007 IEC 60601-1-2:2007 EN 61326-1:2006 EN 50130-4:1995+A1+A2 |
| Test item: | Requests all test items required by the applied standard. Requests limited items to be tested. Requests the test specific to the specified sections (ports). only other than |
| Test method: 【IMPORTANT】 | According to the applied standard (performs by the specified version if a year number is given, or by the latest applicable version if no year number is given) Wishes the method of testing by the latest applicable version (this will be commented in the test report) For the test item ( , wishes the testing added to the latest version as well as those included in the older version |
| Test order: | Does not specify Specifies *We may not able to follow your wishes due to conditions of the facility reserve. 【Emission】 ( )RE (<1GHz) ( )RE (>1GHz) ( )CE power port ( )CE communication port ( )Power line harmonics ( )Flicker ( )Magnetic field ( )Clamp on power meter ( )Other: 【Immunity】 ( )ESD 4-2 ( )RS 4-3 ( )EFT/B 4-4 ( )Surge4-5 ( )CS 4-6 ( )Magnetic 4-8 ( )Dip & Interruption 4-11 ( )Acoustic evaluation ( )Other: |
| Type of the test report: | Described in the application of use for testing facilities/test report making request (JEL's field: □Within accreditation range, □Partially and with conditions: is excluded) |

2. EUT summary (check□. These confirmations are common to both the emission and immunity)

JEL EMC Test Plan Annex-1

| Product summary: | If you have specifications such as a product catalog, please attach it. |  |
| --- | --- | --- |
| Dimensions of the EUT: | Described in the application of use for testing facilities/test report making request Other than those descriptions Pleases write the maximum effective size during the test * Please write the effective size necessary during equipment operation, including the extrusions and moving parts (eg tray, arm). And if the specifications cause combined devices to be inseparable or restrict the positional relationship between units, please do not write the size of each unit or device but write the size of the whole system. * Please write the accurate values since limits and conditions may apply to certain tests depending on the scale, even if the equipment can be delivered into the facility. |  |
|  | ID: Device name E1: W D H (m) E3: W D H (m) E5: W D H (m) | ID: Device name E2: W D H (m) E4: W D H (m) E6: W D H (m) |
| Form of use: | Described in the application of use for testing facilities/test report making request Tabletop Floor Wall or ceiling Portable Does not specify ( Component (choose the form of the use of the product to be incorporated in) |  |
| Environment of use: | Described in the application of use for testing facilities/test report making request Office Hospital Industrial Residential/Commercial/Light industrial Does not specify ( |  |

3. Test conditions (check□. Confirmation items are common to both the emission and immunity unless stated otherwise)

JEL EMC Test Plan Annex-1

| Number of subject power ports: | 1 (P1) 2 (P1 through P2) 3 (P1 through P3) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Power rating: | Described in the application of use for testing facilities/test report making request P1: AC (single phase/ 3 phase) DC wires Input voltage: V Frequency: Hz Load capacity: A W VA P2: AC (single phase/ 3 phase) DC wires Input voltage: V Frequency: Hz Load capacity: A W VA P3: AC (single phase/ 3 phase) DC wires Input voltage: V Frequency: Hz Load capacity: A W VA |  |  |  |  |  |
| Voltage selection method: | Described in the application of use for testing facilities/test report making request P1: Does not select Auto Manual (By tap, By replacing power unit) P2: Does not select Auto Manual (By tap, By replacing power unit) P3: Does not select Auto Manual (By tap, By replacing power unit) |  |  |  |  |  |
| Lightning protection parts: 【IMPORTANT】 | Described in the application of use for testing facilities/test report making request P1: No Yes Unknown * Whether or not varistor, arrestor or similar is provided to the power unit primary side circuit P2: No Yes Unknown P3: No Yes Unknown |  |  |  |  |  |
| Power supply during test: | Described in the application of use for testing facilities/test report making request P1: AC DC Voltage: V Frequency: Hz P2: AC DC Voltage: V Frequency: Hz P3: AC DC Voltage: V Frequency: Hz |  |  |  |  |  |
| Power supply line details: | Described in the application of use for testing facilities/test report making request Single phase (L, N, PE): P1 P2 P3 Single phase (L, N, PE): P1 P2 P3 DC (-48V, 0V, FG): P1 P2 P3 3 phase (L1, L2, L3, N, PE): P1 P2 P3 Other : P1 P2 P3 Disconnection: Possible (eg universal 2P/3P inlet or 8 shaped type): P1 P2 P3 Not possible (eg directly connected to internal terminal, special connector): P1 P2 P3 |  |  |  |  |  |
| Dedicated ground cable: 【IMPORTANT】 | Not provided, Provided: cables |  |  |  |  |  |
| Operation mode: | Please write the names of all modes to be used and the operation cycle time of each below. * Write the cycle as 0 seconds in case of continuous operation |  |  |  |  |  |
|  | ID: Mode name | Cycle |  |  | ID: Mode name | Cycle |
|  | M1: | sec. |  |  | M2: | sec. |
|  | M3: | sec. |  |  | M4: | sec. |
|  | M5: | sec. |  |  | M6: | sec. |
|  | Applies to all test items. Selects one for each test item purpose. (Write below) Mode ID: |  |  |  |  |  |
|  | EMS |  |  | EMI (RE/CE) |  |  |
|  | Power line harmonics |  |  | Flicker |  |  |
|  | Remark |  |  |  |  |  |

JEL EMC Test Plan Annex-1

| Load change: | Function that the load change is repeated irregularly for long time (mainly heaters): Not provided Provided (relevant active power W) |
| --- | --- |
| House margin: | EMI: No Yes RE dB, CE dB, Harmonics % Described in the separate test specifications EMS: No Yes * Please attach test specifications separately |
| Dwell time: (immunity) | As follows To be negotiated Note Mn = operation mode ID ID: Dwell time M1: seconds M2: seconds M3: seconds M4: seconds M5: seconds M6: seconds * Dwell time: This is the dwell time for each frequency during the radiated and conductive radio frequency disturbance tests. If this dwell time is short the test may be completed faster, but as drawback the risk of failing to find the phenomenon caused by the disturbance increases. A time that can adequately cover the operation cycle is ideal. If the test time is expected to be long, use of a test program is recommended. While the followings are the calculated net test times, the actual test time also varies depending on the side replacement, wiring, basic operation time and presence/absence of phenomenon. 1: 80-1000MHz, 1% (255 Steps), 1s, Horizontal/ Vertical, 4 sides = approximately 0.6h 2: 80-1000MHz, 1% (255 Steps), 3s, Horizontal/ Vertical, 4 sides = approximately 1.7h 3: 80-1000MHz, 1% (255 Steps), 5s, Horizontal/ Vertical, 4 sides = approximately 2.9h 4: 80-1000MHz, 1% (255 Steps), 10s, Horizontal/ Vertical, 4 sides = approximately 5.7h 5: 80MHz-2.7GHz, 1% (355 Steps), 15s, Horizontal./ Vertical, 4 sides = approximately 8.5h * Applied standards may specify the minimum time or clarifies the upper limit (and the compromise for it). In that case the requirement of the standard may supersede. |
| Radiated electromagnetic field placement: Placement of floor placed equipment No 1 (immunity) | Followings are required by the standard. 1) Placing 0.05 to 0.15 meter above the floor is recommended. 2) Placing in a so called tabletop style on a nonconductive table 0.8 meter above the floor. Note this placement is acceptable when the equipment is neither too large nor heavy and poses no hazard. Excerpt from IEC 61000-4-3:2006. Tabletop placement in 2) is recommended if you are thinking about mitigating risk from all directions for the product development concern. Even then, the tabletop test may not be available or necessary to all EUT, for instance when a physical issue (weight, size, structure, harness strength) exists or when main components cannot be fixed to 0.8 meter or lower from the EUT. We think that the tabletop placement is possible if the EUT is under approximately 100 kg. Note if you wish the tabletop placement the EUT has to be lifted to the table height by human. Please be acknowledged we need two or three persons, that vary depending on the weight, of assistance in addition to our engineers. Wishes tabletop test: Yes (including native tabletop equipment) Physically difficult or impossible Does not wish To be negotiated * All of our immunity test chambers are constructed to have insulated floor which is 0.1 meter above the standard ground. When a test is performed while the EUT is mounted on the pallet, the applicable height is added to the position. |
| Placement of floor placed equipment No 2 (immunity) 【IMPORTANT】 | The EUT is a product that can be used at various directions (vertical and horizontal) No Yes If "Yes" then please make sure and answer the followings. The basic standard requires that "in this case all sides must be exposed to the electromagnetic field. However the sides to be evaluated may be decreased if doing so may be technically justified". Performs testing and evaluation on the following number of sides: 6 directions (front, rear, left, right, up, down) 4 directions (chosen based on the typical installation methods) To be negotiated Other: |

JEL EMC Test Plan Annex-1

| Placement of floor placed equipment No 3 (immunity) | Specially shaped equipment Is thin and long therefore tested only to longer direction A plan view is attached Performs on 4 sides as required by the standard. To be negotiated |
| --- | --- |
| I/O port (immunity) | Number of I/O ports that the manufacturer specifications allow 3 meters or longer: ports, None More details ( * Ports considered as the I/O ports: Equipotential conductor, signal, control, communication, functional ground * In case of the bidirectional EUT count each as two. |
| Ports with same function (immunity) | None Tests all Tests only one of them |
| Redundant power supply (immunity) | None Optional Standard specification About the power supply connection specification: Does not specify Supplies powers (utility and UPS) via separate lines. |
| Port directly connected to outdoors (immunity) | None Yes (port name: * All ports except the AC power, mainly the pay phone line, I/O for outdoor device and alike. * Those connected via a part where the current passes directly, like a relay terminal rack, are considered directly connected. |
| Acoustic evaluation test (telecommunications terminal equipment) (immunity CISPR 24) | This evaluation is inevitable for the telecommunications terminal equipment (TTE) applicable to EN 55024 Annex A.1 or A.2. * Any TTE with either analog or digital interface. Acoustic interface (handset) Provided Not provided / Analog port Provided Provided Not provided Equipment is not subjected Equipment is subjected (Performs Partially omits Omits) * If you omit, the applicable comment will be written in the test report. Reason to omit: Has been evaluated before Is entirely digital and is not provided with any electrical analog circuit that causes demodulation Other reason ( |
| Selected frequency test (immunity CISPR 24) | This evaluation is inevitable for the TTE and facsimiles applicable to EN 55024 Annex A.1, A.2 or A.3. * Verification of the sequential operation starting from call - called - establishing- clear Equipment is not subjected Equipment is subjected (Performs Partially omits Omits) * If you omit, the applicable comment will be written in the test report. Reason to omit: Has been evaluated before The equipment is fully digital through and is identified to cause no problem unless when a transient noise, which is inherent to digital, is generated during the sweep test. Other reason ( |
| Frequency list (immunity) | Please list the frequencies used inside the equipment, for instance the RFID and sensitive RF (such as clock) below. * Individual analysis may become necessary depending on the frequency of use and purpose of use. RFID is not used RFID is used MHz kHz Sensitive frequency: |
| Use of RF receiver (immunity) | Not used Used If used, please write the lower and upper limits of the frequency of use below. MHz kHz Exclusion band "±5% <80MHz> ±10%" |
| Power frequency magnetic field test (immunity) | If no part that is affected by the magnet is installed, this test can be exempted in case of CISPR24/EN 55024. The test is To be performed To be performed |

JEL EMC Test Plan Annex-1

| Medical equipment test (IEC 60601-1-2) | Is equipment that handles body parameter * For instance an electrocardiogram Yes No If "Yes", the modulation frequency during radio disturbance test is: Hz If "No", this test is essential for its function this test is not considered essential for its function |
| --- | --- |
| Operation check method (immunity) | Details of the points and methods for checking whether the EUT is operating normally Example) ・Operation information displayed on the operation panel (such as remaining quantity, cycles, processes) ・Communication result which is automatically updated every second in the PC screen (Pass/Fail) ・Whether the internal counter value is counted periodically |
| Performance criterion (immunity) | Not provided (the standard performance criterion of the applied standard is observed) Provided Performance standard details During continuous disturbance test: During transient disturbance test: * We may ask you to fill a separate "performance criteria declaration". |

This is the end of the confirmation of the contents related to the test summary.